## Results in words
xx0	x25	x50	x75		Total of 4all values	Minimum value	Total of all 4 values less min value	Average of non-Min. Values	Effective Vref minus Min	Compare against ALL OFF limits	In dacade decade in the level?	Channel		Limits base on .txt file results only	Hi limit	Lo limit
V	V	V	V					Effectively Vref						ALL OFF	0.010	-0.010
3.049	3.049	3.049	3.049		12.196	3.049	9.147	3.049	0.000	ALL OFF	ALL OFF	ALL OFF		Level < 100	0.070	0.050
2.999	3.057	3.057	3.057		12.170	2.999	9.171	3.057	0.058	DIP	Level < 100	xx0		100<Level<200	0.170	0.150
3.055	2.997	3.057	3.055		12.164	2.997	9.167	3.056	0.059	DIP	Level < 100	x25		200<Level<300	0.350	0.330
3.057	2.999	3.057	3.055		12.168	2.999	9.169	3.056	0.057	DIP	Level < 100	x25		300<Level<400	0.560	0.530
3.057	3.057	2.999	3.055		12.168	2.999	9.169	3.056	0.057	DIP	Level < 100	x50		400<Level<500	0.730	0.700
3.057	3.057	3.059	2.997		12.170	2.997	9.173	3.058	0.061	DIP	Level < 100	x75		500<Level<600	0.920	0.880
2.895	3.053	3.055	3.053		12.056	2.895	9.161	3.054	0.159	DIP	100<Level<200	xx0		600<Level<700	1.220	1.180
2.893	3.055	3.055	3.055		12.058	2.893	9.165	3.055	0.162	DIP	100<Level<200	xx0		700<Level<800	1.540	1.500
3.055	2.893	3.055	3.053		12.056	2.893	9.163	3.054	0.161	DIP	100<Level<200	x25		800<Level<900	2.100	2.000
3.055	3.055	2.897	3.053		12.060	2.897	9.163	3.054	0.157	DIP	100<Level<200	x50		900<Level<1000	2.450	2.400
3.055	3.055	3.057	2.895		12.062	2.895	9.167	3.056	0.161	DIP	100<Level<200	x75
2.709	3.051	3.051	3.051		11.862	2.709	9.153	3.051	0.342	DIP	200<Level<300	xx0
3.051	2.709	3.051	3.049		11.860	2.709	9.151	3.050	0.341	DIP	200<Level<300	x25
3.051	2.709	3.051	3.051		11.862	2.709	9.153	3.051	0.342	DIP	200<Level<300	x25
3.051	3.051	2.711	3.049		11.862	2.711	9.151	3.050	0.339	DIP	200<Level<300	x50
3.049	3.049	3.051	2.707		11.856	2.707	9.149	3.050	0.343	DIP	200<Level<300	x75
2.503	3.047	3.047	3.045		11.642	2.503	9.139	3.046	0.543	DIP	300<Level<400	xx0
3.047	2.503	3.047	3.045		11.642	2.503	9.139	3.046	0.543	DIP	300<Level<400	x25
3.047	3.047	2.507	3.045		11.646	2.507	9.139	3.046	0.539	DIP	300<Level<400	x50
3.047	3.047	3.045	2.499		11.638	2.499	9.139	3.046	0.547	DIP	300<Level<400	x75
2.327	3.043	3.043	3.041		11.454	2.327	9.127	3.042	0.715	DIP	400<Level<500	xx0
3.043	2.329	3.043	3.043		11.458	2.329	9.129	3.043	0.714	DIP	400<Level<500	x25
3.043	3.045	2.331	3.043		11.462	2.331	9.131	3.044	0.713	DIP	400<Level<500	x50
3.043	3.043	3.043	2.323		11.452	2.323	9.129	3.043	0.720	DIP	400<Level<500	x75
2.135	3.037	3.041	3.039		11.252	2.135	9.117	3.039	0.904	DIP	500<Level<600	xx0
3.039	2.135	3.039	3.037		11.250	2.135	9.115	3.038	0.903	DIP	500<Level<600	x25
3.039	3.039	2.141	3.039		11.258	2.141	9.117	3.039	0.898	DIP	500<Level<600	x50
3.039	3.039	3.039	2.133		11.250	2.133	9.117	3.039	0.906	DIP	500<Level<600	x75
1.831	3.033	3.033	3.033		10.930	1.831	9.099	3.033	1.202	DIP	600<Level<700	xx0
3.033	1.831	3.033	3.031		10.928	1.831	9.097	3.032	1.201	DIP	600<Level<700	x25
3.033	3.031	1.837	3.031		10.932	1.837	9.095	3.032	1.195	DIP	600<Level<700	x50
3.033	3.033	3.033	1.829		10.928	1.829	9.099	3.033	1.204	DIP	600<Level<700	x75
3.025	1.501	3.025	3.023		10.574	1.501	9.073	3.024	1.523	DIP	700<Level<800	x25
3.055	3.055	3.057	3.055		12.222	3.055	9.167	3.056	0.001	ALL OFF	ALL OFF	ALL OFF
3.027	3.027	1.509	3.027		10.590	1.509	9.081	3.027	1.518	DIP	700<Level<800	x50
3.055	3.055	3.057	3.055		12.222	3.055	9.167	3.056	0.001	ALL OFF	ALL OFF	ALL OFF
3.055	3.055	3.055	3.055		12.220	3.055	9.165	3.055	0.000	ALL OFF	ALL OFF	ALL OFF
3.055	3.055	3.057	3.055		12.222	3.055	9.167	3.056	0.001	ALL OFF	ALL OFF	ALL OFF
3.057	3.055	3.057	3.055		12.224	3.055	9.169	3.056	0.001	ALL OFF	ALL OFF	ALL OFF
3.057	3.057	3.057	3.057		12.228	3.057	9.171	3.057	0.000	ALL OFF	ALL OFF	ALL OFF
3.027	3.027	3.027	1.497		10.578	1.497	9.081	3.027	1.530	DIP	700<Level<800	x75
0.96	3.015	3.015	3.013		10.003	0.960	9.043	3.014	2.054	DIP	800<Level<900	xx0
3.015	0.964	3.015	3.013		10.007	0.964	9.043	3.014	2.050	DIP	800<Level<900	x25
3.015	3.015	0.968	3.015		10.013	0.968	9.045	3.015	2.047	DIP	800<Level<900	x50
3.015	3.015	3.015	0.956		10.001	0.956	9.045	3.015	2.059	DIP	800<Level<900	x75
0.576	3.007	3.007	3.005		9.595	0.576	9.019	3.006	2.430	DIP	900<Level<1000	xx0
3.007	0.58	3.007	3.007		9.601	0.580	9.021	3.007	2.427	DIP	900<Level<1000	x25
3.007	3.007	0.58	3.005		9.599	0.580	9.019	3.006	2.426	DIP	900<Level<1000	x50
3.007	3.005	3.007	0.57		9.589	0.570	9.019	3.006	2.436	DIP	900<Level<1000	x75
3.055	3.055	3.057	3.055		12.222	3.055	9.167	3.056	0.001	ALL OFF	ALL OFF	ALL OFF

## Levels in numbers
0	25	50	75		Total of 4all values	Minimum value	Total of all 4 values less min value	Average of non-Min. Values	Effective Vref minus Min	Compare against ALL OFF limits	In dacade decade in the level?	Channel	Measured value	Limits base on .txt file results only	Hi limit	Lo limit
V	V	V	V					Effectively Vref						ALL OFF	0.010	-0.010
3.049	3.049	3.049	3.049		12.196	3.049	9.147	3.049	0.000	ALL OFF	ALL OFF	ALL OFF	ALL OFF	0	0.070	0.050
2.999	3.057	3.057	3.057		12.170	2.999	9.171	3.057	0.058	DIP	0	0	0	1	0.170	0.150
3.055	2.997	3.057	3.055		12.164	2.997	9.167	3.056	0.059	DIP	0	25	25	2	0.350	0.330
3.057	2.999	3.057	3.055		12.168	2.999	9.169	3.056	0.057	DIP	0	25	25	3	0.560	0.530
3.057	3.057	2.999	3.055		12.168	2.999	9.169	3.056	0.057	DIP	0	50	50	4	0.730	0.700
3.057	3.057	3.059	2.997		12.170	2.997	9.173	3.058	0.061	DIP	0	75	75	5	0.920	0.880
2.895	3.053	3.055	3.053		12.056	2.895	9.161	3.054	0.159	DIP	1	0	100	6	1.220	1.180
2.893	3.055	3.055	3.055		12.058	2.893	9.165	3.055	0.162	DIP	1	0	100	7	1.540	1.500
3.055	2.893	3.055	3.053		12.056	2.893	9.163	3.054	0.161	DIP	1	25	125	8	2.100	2.000
3.055	3.055	2.897	3.053		12.060	2.897	9.163	3.054	0.157	DIP	1	50	150	9	2.450	2.400
3.055	3.055	3.057	2.895		12.062	2.895	9.167	3.056	0.161	DIP	1	75	175
2.709	3.051	3.051	3.051		11.862	2.709	9.153	3.051	0.342	DIP	2	0	200
3.051	2.709	3.051	3.049		11.860	2.709	9.151	3.050	0.341	DIP	2	25	225
3.051	2.709	3.051	3.051		11.862	2.709	9.153	3.051	0.342	DIP	2	25	225
3.051	3.051	2.711	3.049		11.862	2.711	9.151	3.050	0.339	DIP	2	50	250
3.049	3.049	3.051	2.707		11.856	2.707	9.149	3.050	0.343	DIP	2	75	275
2.503	3.047	3.047	3.045		11.642	2.503	9.139	3.046	0.543	DIP	3	0	300
3.047	2.503	3.047	3.045		11.642	2.503	9.139	3.046	0.543	DIP	3	25	325
3.047	3.047	2.507	3.045		11.646	2.507	9.139	3.046	0.539	DIP	3	50	350
3.047	3.047	3.045	2.499		11.638	2.499	9.139	3.046	0.547	DIP	3	75	375
2.327	3.043	3.043	3.041		11.454	2.327	9.127	3.042	0.715	DIP	4	0	400
3.043	2.329	3.043	3.043		11.458	2.329	9.129	3.043	0.714	DIP	4	25	425
3.043	3.045	2.331	3.043		11.462	2.331	9.131	3.044	0.713	DIP	4	50	450
3.043	3.043	3.043	2.323		11.452	2.323	9.129	3.043	0.720	DIP	4	75	475
2.135	3.037	3.041	3.039		11.252	2.135	9.117	3.039	0.904	DIP	5	0	500
3.039	2.135	3.039	3.037		11.250	2.135	9.115	3.038	0.903	DIP	5	25	525
3.039	3.039	2.141	3.039		11.258	2.141	9.117	3.039	0.898	DIP	5	50	550
3.039	3.039	3.039	2.133		11.250	2.133	9.117	3.039	0.906	DIP	5	75	575
1.831	3.033	3.033	3.033		10.930	1.831	9.099	3.033	1.202	DIP	6	0	600
3.033	1.831	3.033	3.031		10.928	1.831	9.097	3.032	1.201	DIP	6	25	625
3.033	3.031	1.837	3.031		10.932	1.837	9.095	3.032	1.195	DIP	6	50	650
3.033	3.033	3.033	1.829		10.928	1.829	9.099	3.033	1.204	DIP	6	75	675
3.025	1.501	3.025	3.023		10.574	1.501	9.073	3.024	1.523	DIP	7	25	725
3.055	3.055	3.057	3.055		12.222	3.055	9.167	3.056	0.001	ALL OFF	ALL OFF	ALL OFF	ALL OFF
3.027	3.027	1.509	3.027		10.590	1.509	9.081	3.027	1.518	DIP	7	50	750
3.055	3.055	3.057	3.055		12.222	3.055	9.167	3.056	0.001	ALL OFF	ALL OFF	ALL OFF	ALL OFF
3.055	3.055	3.055	3.055		12.220	3.055	9.165	3.055	0.000	ALL OFF	ALL OFF	ALL OFF	ALL OFF
3.055	3.055	3.057	3.055		12.222	3.055	9.167	3.056	0.001	ALL OFF	ALL OFF	ALL OFF	ALL OFF
3.057	3.055	3.057	3.055		12.224	3.055	9.169	3.056	0.001	ALL OFF	ALL OFF	ALL OFF	ALL OFF
3.057	3.057	3.057	3.057		12.228	3.057	9.171	3.057	0.000	ALL OFF	ALL OFF	ALL OFF	ALL OFF
3.027	3.027	3.027	1.497		10.578	1.497	9.081	3.027	1.530	DIP	7	75	775
0.96	3.015	3.015	3.013		10.003	0.960	9.043	3.014	2.054	DIP	8	0	800
3.015	0.964	3.015	3.013		10.007	0.964	9.043	3.014	2.050	DIP	8	25	825
3.015	3.015	0.968	3.015		10.013	0.968	9.045	3.015	2.047	DIP	8	50	850
3.015	3.015	3.015	0.956		10.001	0.956	9.045	3.015	2.059	DIP	8	75	875
0.576	3.007	3.007	3.005		9.595	0.576	9.019	3.006	2.430	DIP	9	0	900
3.007	0.58	3.007	3.007		9.601	0.580	9.021	3.007	2.427	DIP	9	25	925
3.007	3.007	0.58	3.005		9.599	0.580	9.019	3.006	2.426	DIP	9	50	950
3.007	3.005	3.007	0.57		9.589	0.570	9.019	3.006	2.436	DIP	9	75	975
3.055	3.055	3.057	3.055		12.222	3.055	9.167	3.056	0.001	ALL OFF	ALL OFF	ALL OFF	ALL OFF